## Beam Conditioning
Item Name | Product Details | Web link | Cost | Quantity | Notes
Beam Conditioning
Ultra-compact femtosecond laser | Spark laser ALCOR 920nm 2W | https://rpmclasers.com/wp-content/uploads/products/ALCOR%20920.pdf?srsltid=AfmBOopx5II4QLZOXl_lS5Hx6BuiWs9P8b4oDAZp8-PJh-laY7jA7NLh | 71200 | 1
Ultra-compact femtosecond laser | Extended warranty |  | 19936 | 1
Beam block | LB1/M - Beam Block, 400 nm - 2 µm, | https://www.thorlabs.de/thorproduct.cfm?partnumber=LB1/M | 59 | 2
Adjustible ring mount | Edmund Optics (#36-605) | https://www.edmundoptics.com/p/95mm-outer-diameter-three-screw-adjustable-ring-mount/4203/ | 76 | 2
Beam block | LB2 - Beam Block, 1 - 12 µm, | https://www.thorlabs.de/thorproduct.cfm?partnumber=LB2 | 181 | 3
IR detector card | VRC4 - 790 - 840 nm, 870 - 1070 nm, 1500 - 1590 nm | https://www.thorlabs.com/thorproduct.cfm?partnumber=VRC4 | 94 | 1
Cage alignment plate | VRC4CPT | https://www.thorlabs.com/thorproduct.cfm?partnumber=VRC4CPT#ad-image-0 | 36 | 1
Iris | SM1D12C | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1D12C#ad-image-0 | 120 | 3
Cage plate | CP33 | https://www.thorlabs.com/thorproduct.cfm?partnumber=CP33 | 19 | 1
Mounted achromatic half-wave plate | AHWP10M-980 - Ø1" | https://www.thorlabs.com/thorproduct.cfm?partnumber=AHWP10M-980 | 1059 | 1
Rotation mount | PRM1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=PRM1 | 325 | 1
Polarizing beamsplitter cube | PBS103 - 10 mm | https://www.thorlabs.com/thorproduct.cfm?partnumber=PBS103 | 222 | 1
Kinematic platform mount | KM100B - 1.92" x 1.92" | https://www.thorlabs.com/thorproduct.cfm?partnumber=KM100B | 66 | 1
Adjustable clamping arm | PM4 | https://www.thorlabs.com/thorproduct.cfm?partnumber=PM4 | 27 | 1
Laser power meter | Coherent FieldMaxII | https://coherentinc.my.site.com/Coherent/laser-measurement/power-energy-meters/1098579?cclcl=en_US | 1283 | 1
Mirror | PF10-03-P01 | https://www.thorlabs.com/thorproduct.cfm?partnumber=PF10-03-P01 | 56 | 5
Mirror mount | KM100 | https://www.thorlabs.com/thorproduct.cfm?partnumber=KM100#ad-image-0 | 42 | 5
Aligment tool 103 | Conoptics | refer to https://conoptics.com/wp-content/uploads/2013/09/Conoptics_Modulator_Alignment_Procedure.pdf |  | 1
Si switchable gain detector | PDA36A2 - Si Switchable Gain Detector, 350 - 1100 nm | https://www.thorlabs.com/thorproduct.cfm?partnumber=PDA36A2 | 373.84 | 1
Shutter | LS6S2ZM1 Vincent Associates | https://www.uniblitz.com/products/ls6/ | 1045 | 1
Shutter driver | VCMD1 | https://www.uniblitz.com/products/vcm-d1-shutter-driver/ | 1210 | 1
Long pass filter | FELH0850 - Ø25.0 mm Longpass Filter, Cut-On Wavelength: 850 nm | https://www.thorlabs.com/thorproduct.cfm?partnumber=FELH0850 | 144 | 1
Conoptics Pockels cell 101 alignment tool | Model 102A Adj. Modulator Mount with Model 103 Alignment | https://www.conoptics.com/conoptics-accessories/model-102-adjustable-mount-with-isolator/ | 950 | 1
Beam expander (Telescope) | GBE02-B - 2X Achromatic Galilean Beam Expander, | https://www.thorlabs.com/thorproduct.cfm?partnumber=GBE02-B | 479 | 1
Right-angle kinematic mirror mount | KCB1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=KCB1#ad-image-0 | 155 | 1
Cage plate | CP12 - 30 mm Cage Plate, Ø1.2" Double Bore for SM1 and C-Mount Lens Tubes | https://www.thorlabs.com/thorproduct.cfm?partnumber=CP36 | 24 | 1
Broadband precision window | WG11010 - Ø1" N-BK7 Broadband Precision Window, Uncoated, t = 1 mm | https://www.thorlabs.com/thorproduct.cfm?partnumber=WG11010 | 91 | 2
Thread depth | SM1L20 - SM1 Lens Tube, 2.00" Thread Depth, One Retaining Ring Included | https://thorlabs.com/thorproduct.cfm?partnumber=SM1L20 | 18 | 1
Drop-on rail carriage | XT95RC4 - Drop-On Rail Carriage for 95 mm Rails, 4.00" Long, 1/4"-20 Tapped Holes | https://www.thorlabs.com/thorproduct.cfm?partnumber=XT95RC4 | 143 | 1
Mirror mount with smooth cage rod bores | KCB2EC | https://www.thorlabs.com/thorproduct.cfm?partnumber=KCB2EC | 268 | 1
Tube holder | LPC01 | https://www.thorlabs.com/thorproduct.cfm?partnumber=LCP34 | 45 | 1
Cage assembly Rod | ER6-P4 | https://www.thorlabs.com/thorproduct.cfm?partnumber=ER6-P4 | 36 | 3
Table clamp | XE25CL2 | https://www.thorlabs.com/thorproduct.cfm?partnumber=XE25CL2 | 14 | 10
Slip-on lens tube cover | SC1L24 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SC1L24 | 11 | 1
Slip-on lens tube cover | SC600 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SC600 | 40 | 1
Post holder | PH3-P5 - Ø1/2"(Pack of 5) | https://www.thorlabs.com/thorproduct.cfm?partnumber=PH3-P5#ad-image-0 | 46 | 5
Optical post | TR3-P5(Pack of 5) | https://www.thorlabs.com/thorproduct.cfm?partnumber=TR3-P5 | 28 | 2
Broadband windows | WG11010-B - Ø1" N-BK7 Broadband Precision Window, AR Coated: 650 - 1050 nm, t = 1 mm | https://www.thorlabs.com/thorproduct.cfm?partnumber=WG11010-B | 103 | 2
Adapter with external SM1 threads and internal SM2 threads | SM1A2 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1A2 | 28 | 1
Cage plate | CP08 | https://www.thorlabs.com/thorproduct.cfm?partnumber=CP08 | 23 | 1
Scanning mirror set | 6SD11502, Novanta | Quote | 5600 | 1
Pockels cell | Model 302RM Driver | Quote | 5725 | 1
Pockels cell | Model 350-80-LA-02 KD*P Series E-O Modulator for use in the NIR | Quote | 5500 | 1
Pockels cell | BK Option used to min. piezo-electric resonances for Model 350 Series | Quote | 850 | 1
Pockels cell | Model 103 Alignement Tool | Quote | 75 | 1

## Lens Assemblies
Item Name | Product Details | Web link | Cost | Quantity | Notes
Lens Assemblies
Aero-Duster | CA4-US | https://www.thorlabs.com/thorproduct.cfm?partnumber=CA4-US | 26 | 2
Lens Tube Spacer | SM1S20 - SM1 Lens Tube Spacer, 2" Long | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1S20 | 17 | 1
Andustble lens tube | SM2V05 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM2V05 | 55 | 1
Lens Tubes | SM2L10 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=3383 | 35 | 3
Lens Tubes | SM2L30 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=3383 | 35 | 2
Lens Tubes | SM2L05 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=3383 | 35 | 1
Lens Tubes | SM2L15 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=3383 | 35 | 1
Lens Tubes | SM2L20 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=3383 | 35 | 1
Lens Tubes | SM1L15 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=3307 | 17 | 2
Lens Tubes | SM1L20 | https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=3307 | 18 | 4
Spanner Wrench | SPW604 - Spanner Wrench for SM2-Threaded Retaining Rings, Length = 4.35" | https://www.thorlabs.com/thorproduct.cfm?partnumber=SPW604 | 52 | 1
Optical lens excitation path | LB1199-B | https://www.thorlabs.com/thorproduct.cfm?partnumber=LB1199-B | 55 | 1
Optical lens excitation path | ACT508-200-B | https://www.thorlabs.com/thorproduct.cfm?partnumber=ACT508-200-B | 157 | 2
Optical lens excitation path | ACT508-750-B | https://www.thorlabs.com/thorproduct.cfm?partnumber=ACT508-750-B | 157 | 2
Optical lens emission path | LA1384-A | https://www.thorlabs.com/thorproduct.cfm?partnumber=LA1384-A | 46 | 1
Optical lens emission path | LB1607-A | https://www.thorlabs.com/thorproduct.cfm?partnumber=LB1607-A | 55 | 1
Optical lens emission path | ACL25416U-A | https://www.thorlabs.com/thorproduct.cfm?partnumber=ACL25416U-A | 32 | 2
Optical lens excitation path | KPC070AR.16 | https://www.newport.com/p/KPC070AR.16 | 104 | 1

## Microscope Head
Item Name | Product Details | Web link | Cost | Quantity | Notes
Microscope Head
Machine shop | Machining the microscope pieces |  | 6670 | 1
Black anodization of microscope parts | Hillock anodization | https://www.hillockanodizing.com/ | 500 | 1
Nikon 16X objective, and thread adapter | N16XLWD-PF - 16X Nikon CFI LWD Plan Fluorite Objective, 0.80 NA, 3.0 mm WD | https://www.thorlabs.com/thorproduct.cfm?partnumber=N16XLWD-PF | 7824 | 1
Piezoelectric objective collar | P-725.xCDE1S PIFOC | https://www.pi-usa.us/en/products/more-products/nanopositioning-piezo-flexure-stages/pifoc-objective-pinano-sample-scanners-for-microscopy/p-725xcde1s-pifoc-scanner-system-for-microscope-objectives | 16021 | 1
Silicon putty | TG-NSP50-1LB | https://www.digikey.com/en/products/detail/t-global-technology/TG-NSP50-1LB/13246097?utm_adgroup=&utm_source=google&utm_medium=cpc&utm_campaign=PMax%20Shopping_Product_Medium%20ROAS%20Categories&utm_term=&utm_content=&utm_id=go_cmp-20223376311_adg-_ad-__dev-c_ext-_prd-13246097_sig-Cj0KCQjwtsy1BhD7ARIsAHOi4xalIkKnn4X8kGJfYZQ-DaZbw4jGDBVh71qLlgcJA4r8u8By70HPzekaAolDEALw_wcB&gad_source=1&gclid=Cj0KCQjwtsy1BhD7ARIsAHOi4xalIkKnn4X8kGJfYZQ-DaZbw4jGDBVh71qLlgcJA4r8u8By70HPzekaAolDEALw_wcB | 61 | 1
Connection cable for PMT gain |  | https://www.mouser.com/ProductDetail/Belden-Wire-Cable/8445-060100?qs=V3c4vtsS7n0oWQtUr0OZUA%3D%3D&mgh=1&utm_id=17222215321&gad_source=1&gclid=Cj0KCQjwtsy1BhD7ARIsAHOi4xbOnWFk-u-tHGWLPDHymgm_rdDJt3eCMPsa9AXdbyqerBtyYRLDr7waApTSEALw_wcB | 242 | 1
Cable connector | Neutrik NC4MX | https://www.markertek.com/product/nc4mx/neutrik-nc4mx-4-pin-xlr-male-cable-connector | 5 | 2
Drop-on rail carriage | XT95RC2 | https://www.thorlabs.com/thorproduct.cfm?partnumber=XT95RC2 | 101 | 3
Drop-on rail carriage | XT95RC3 | https://www.thorlabs.com/thorproduct.cfm?partnumber=XT95RC3 | 122 | 1
Aluminum breadboard | MB12 | https://www.thorlabs.com/thorproduct.cfm?partnumber=MB12 | 172 | 1
Mounting base | BA2 | https://www.thorlabs.com/thorproduct.cfm?partnumber=BA2#ad-image-0 | 8 | 4
Mounting base | BA1 | https://www.thorlabs.com/thorproduct.cfm?partnumber=BA1#ad-image-0 | 6 | 5
Mounting base | BA1S | https://www.thorlabs.com/thorproduct.cfm?partnumber=BA1S#ad-image-0 | 6 | 5
Cage plate | CP02/M | https://www.thorlabs.com/thorproduct.cfm?partnumber=CP33/M | 19.9 | 1
Angle bracket | Angle Bracket, 90°, 1/4-20 (M6) Slots, 1 in. Spacing 360-90 | https://www.newport.com/p/360-90 | 100 | 1
Hardman Double/Bubble Epoxy |  | https://www.amazon.com/Hardman-Double-Bubble-Setting-minute/dp/B013WHZFSY/ref=asc_df_B013WHZFSY/?tag=hyprod-20&linkCode=df0&hvadid=692875362841&hvpos=&hvnetw=g&hvrand=7417696031901901692&hvpone=&hvptwo=&hvqmt=&hvdev=c&hvdvcmdl=&hvlocint=&hvlocphy=9007308&hvtargid=pla-2281435179818&psc=1&mcid=3c127bc7621834718028b37434c250fb&hvocijid=7417696031901901692-B013WHZFSY-&hvexpln=73 | 18 | 1
Photomultiplier tube module(PMT) | Hamamatsu H16201-40 | https://www.hamamatsu.com/eu/en/product/optical-sensors/pmt/pmt-module/current-output-type/H16201-40.html | 4355 | 2
PMT transimpedance amplifier | TIA60 | https://www.thorlabs.com/thorproduct.cfm?partnumber=TIA60 | 1151 | 2
Single band band-pass filter | FF01-525/45-32, AVR Optics | Quote | 582 | 1
Single band band-pass filter | FF01-600/52-32, AVR Optics | Quote | 582 | 1
Dichroic beamsplitter | FF562-DI03-40X52, AVR Optics | Quote | 812 | 1
680 nm blocking short-pass filter | FF01-680/SP-50, AVR Optics | Quote | 5760 | 1
Dichroic beamsplitter | FF665-DI02-40X55, AVR Optics | Quote | 1766 | 1
Screws | 4-40 X 5/16 Socket Cap Screw Stainless Steel | https://www.mfsupply.com/Socket-Head-Cap-Screws-p/sc4cx5-fslash-16ssd.htm | 19 | 1
Screws | 4-40 Stainless Steel Nylon-Tipped Setscrew, 1/8" Long | https://www.thorlabs.de/thorproduct.cfm?partnumber=SS4N013 | 15 | 1
Screws | 8-32 X 3/8 Socket Cap Screw Stainless Steel | https://www.mfsupply.com/Socket-Head-Cap-Screws-p/sc8cx3-fslash-8ssd.htm | 25 | 1
Screws | stainless steel socket head screw, 4-40 Thread Size, 3/4 inches long | https://accu-components.com/us/imperial-cap-head-screws/28948-SSC-4-40-3-4-A2?google_shopping=1&c=2&gad_source=1&gclid=CjwKCAjw3P-2BhAEEiwA3yPhwDUp4Mx5Z2JknvpfJW9v1Gp1pUfNcTjy_uRBW5nDD3ZGPZ6_9Q-Q_BoCAz4QAvD_BwE | 1 | 12
Screws | 4-40, undercut, 3/16 inch screws | https://www.amazon.com/Coarse-Thread-Machine-Phillips-Undercut/dp/B0CVFP1FNV?th=1 | 21 | 1
Screws | 4-40 5/16 inch, socket cap screws | https://www.amazon.com/Button-Socket-Screw-Allen-Thread/dp/B07N9WG9RF | 11 | 1
Screws | 8/32, 1/2 inch, socket cap screws | https://boltdepot.com/Product-Details?product=4999&qty=1&gad_source=1&gclid=CjwKCAjw3P-2BhAEEiwA3yPhwDDDiZnqwPfj8wwLWMw9zE9LCygfeB5W2xDiLMoJHfADUVr_cLNVahoCCSIQAvD_BwE | 7 | 1
Screws | 8/32, 3/8 inch, undercut screws | https://www.tannerbolt.com/8c37mfupz-8-32-x-3-8-undercut-machine-screws-undercut-flat-phillips-head-fully-threaded-zinc-plated | 5 | 1
Screws | 4-40 thread, 1/8 inch screws | https://accu-components.com/us/imperial-cap-head-screws/28939-SSC-4-40-1-8-A2?google_shopping=1&c=2&gad_source=1&gclid=CjwKCAjw3P-2BhAEEiwA3yPhwNuU39zWhU7-2pKC-0mu9-QRdgAVFRDrOHFqDba4xbJF8kPhOBq3GRoCX70QAvD_BwE | 1 | 12
Screws | 4-40, 1/2 inch, socket cap screws | https://boltdepot.com/Product-Details?product=4986&qty=1&gad_source=1&gclid=CjwKCAjw3P-2BhAEEiwA3yPhwEjma8rjGLYKXgjX2TVnf98RT_vjRCp1sykVsfH-1B1pMIX80MC4wBoCvnUQAvD_BwE | 7 | 1
Screws | Ultra low-profile hex socket cap screw | https://us.misumi-ec.com/vona2/detail/110302280540/?HissuCode=CBSTSR2-6 | 4 | 20
Wire | 28 AWG | https://www.digikey.com/en/products/detail/remington-industries/28STRPTFEKIT/11613948 | 52 | 1
Protected silver mirror | PF30-03-P01 - Ø3" Protected Silver Mirror | https://www.thorlabs.com/thorproduct.cfm?partnumber=PF30-03-P01 | 402 | 1
Precision kinematic mirror mount | KS3 | https://www.thorlabs.com/thorproduct.cfm?partnumber=KS3#ad-image-0 | 224 | 1
Protected silver elliptical mirror | PFE20-P01 | https://www.thorlabs.com/thorproduct.cfm?partnumber=PFE20-P01 | 184 | 2
Retaining Ring | SM2RR | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM2RR | 8 | 1

## Electronics
Item Name | Product Details | Web link | Cost | Quantity | Notes
Electronics
Safety Goggles | NoIR ML1 Filter for Multiple Laser Diodes | https://safetyglassesusa.com/products/nl-ml1-html?variant=40169833857108&cmp_id=18259498523&adg_id=&kwd=&device=c&gad_source=1&gclid=Cj0KCQjwtsy1BhD7ARIsAHOi4xY7sfWrRyzZkN7bREsC5d24bBn0M8J_CNregOlg-xVHpzjeuJ0I6BUaAlG7EALw_wcB | 190 | 3
Circuit enclosure box | EG6 | https://www.acopian.com/box-gb.html | 60 | 1
Banana Patch Cord |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=T13120 | 11 | 10
Coaxial Cable | 60" | https://www.thorlabs.com/thorproduct.cfm?partnumber=2249-C-60 | 22 | 15
Power supply | Instek GPD-3303D Power Supply, Triple Output, 2x 30 V / 3 A, 2.5-5 V / 3 A, 100 mV / 10 mA, GPD Series | https://www.testequity.com/product/17670-2-GPD-3303D?gad_source=1&gclid=CjwKCAjw_Na1BhAlEiwAM-dm7PGohjh6-7kT4DuzRIFO7rQi2EHz2tHn9Y7Jyv_dG0aH2M9UKHq3zhoC_XYQAvD_BwE | 379 | 1
Power supply | Keysight E3630A DC Linear Power Supply, Triple Output, 6 V / 2.5 A, 2x 20 V /.5 A, 35-50 W, E36xxA Series | https://www.testequity.com/product/12379-1-E3630A?gad_source=1&gclid=CjwKCAjw_Na1BhAlEiwAM-dm7PwbuFzbbr8dIe4Wfam-tRWs-xiAQpw40n2488x6nmTV3sR0ibDAmxoCLb4QAvD_BwE | 1173 | 2
Digital panel meter | DMS-20PC-1-FM-C | https://www.tti.com/content/ttiinc/en/apps/part-detail.html?partsNumber=DMS-20PC-1-FM-C&mfgShortname=MPS&utm=ga-shop1&gad_source=1&gclid=CjwKCAjw_Na1BhAlEiwAM-dm7HDLXjRdnM9JZXPbVfPowWUQQbn2kjm5tfucu7yZ4Y5p77EpBLlTEBoClBEQAvD_BwE | 65 | 2
Potentiometer | 3500S-2-503L | https://www.digikey.com/en/products/detail/bourns-inc./3500S-2-503L/2534228?utm_adgroup=&utm_source=google&utm_medium=cpc&utm_campaign=PMax%20Shopping_Product_Low%20ROAS%20Categories&utm_term=&utm_content=&utm_id=go_cmp-20243063506_adg-_ad-__dev-c_ext-_prd-2534228_sig-CjwKCAjwufq2BhAmEiwAnZqw8mLuEqL2ZmZxYzLbm1ragSttZWo5BnyTf4xwWRQ3GZWKRlSeIrHhohoCA7QQAvD_BwE&gad_source=1&gclid=CjwKCAjwufq2BhAmEiwAnZqw8mLuEqL2ZmZxYzLbm1ragSttZWo5BnyTf4xwWRQ3GZWKRlSeIrHhohoCA7QQAvD_BwE | 85 | 2
Resistor | 12K | https://www.digikey.com/en/products/detail/yageo/MFR-25FTE52-12K/13921465?utm_adgroup=Yageo&utm_source=google&utm_medium=cpc&utm_campaign=PMax%20Shopping_Supplier_Yageo&utm_term=&utm_content=Yageo&utm_id=go_cmp-17816160916_adg-_ad-__dev-c_ext-_prd-13921465_sig-CjwKCAjwufq2BhAmEiwAnZqw8qZ3nG6K0Wj-f0ECR2YtulXqotXAJ3a-XChtWq5RDBDmMGW5gmilQBoC7nsQAvD_BwE&gad_source=1&gclid=CjwKCAjwufq2BhAmEiwAnZqw8qZ3nG6K0Wj-f0ECR2YtulXqotXAJ3a-XChtWq5RDBDmMGW5gmilQBoC7nsQAvD_BwE | 1 | 2
Toggle switch | ST141D00 | https://www.digikey.com/en/products/detail/e-switch/ST141D00/2116289?utm_adgroup=&utm_source=google&utm_medium=cpc&utm_campaign=PMax%20Shopping_Product_Low%20ROAS%20Categories&utm_term=&utm_content=&utm_id=go_cmp-20243063506_adg-_ad-__dev-c_ext-_prd-2116289_sig-CjwKCAjw3P-2BhAEEiwA3yPhwGmC6p_jJ3R-EOTrzL5VFQMQOK0wzO0JGQU2gz180qnOzyUWRP6LGBoCqfkQAvD_BwE&gad_source=1&gclid=CjwKCAjw3P-2BhAEEiwA3yPhwGmC6p_jJ3R-EOTrzL5VFQMQOK0wzO0JGQU2gz180qnOzyUWRP6LGBoCqfkQAvD_BwE | 6 | 2

## Computer & Control & Rack
Item Name | Product Details | Web link | Cost | Quantity | Notes
Computer & Control & Rack
vDAQ (DAQ system from Vidrio 16k) + Optimized PC for ScanImage (3.5k) + bundle discount (-1k) +shipping | Vidrio technologies | https://www.mbfbioscience.com/products/scanimage/ | 18653 | 1
Rack Total (individual items below) | Jacobson-associates | Quote | 2400 | 1
10 Series Vertical Frame | XFR-267019 | Quote | 857 | 1
Locking 350# Caster | HW-450-LK | Quote | 33 | 4
40U Mounting Rails | XMA-70 - Mounted on the Front | Quote | 87 | 1
40U Mounting Rails | XMA-70 - Mounted at B - 25.125" | Quote | 87 | 1
40U Mounting Straps | XMA-70 - Mounted at A - 20.062 | Quote | 85 | 1
48" Vertical PDU | WM-481015-PC | Quote | 125 | 1
13U Formed Steel Filler Panel - Solid | XPN-2219 | Quote | 74 | 1
2U Retractable Keyboard Tray | RKT-0319-S | Quote | 497 | 1
1U Heavy Duty Shelf - Solid | XES-2019 - Mounted in the Front Opening at U21 ¦ MOUNT FRONT AT U21 | Quote | 68 | 1
1U Heavy Duty Shelf - Solid | XES-2019 - Mounted in the Front Opening at U22 ¦ MOUNT FRONT AT U22 | Quote | 68 | 1
1U Heavy Duty Shelf - Solid | XES-2019 - Mounted in the Front Opening at U27 ¦ MOUNT FRONT AT U27 | Quote | 68 | 1
Full Depth Bottom Panel - Solid | XBP-2619 | Quote | 82 | 1

## Miscellaneous
Item Name | Product Details | Web link | Cost | Quantity | Notes
Miscellaneous
Fluorescent beads |  | https://www.bangslabs.com/product-selection/FSDG002 | 244 | 1
Low melting point agarose | YPD agar | https://www.sigmaaldrich.com/US/en/product/sial/y1500?utm_source=google%2Cgoogle&utm_medium=organicshopping%2Ccpc&utm_campaign=20790375250&utm_content=154400301983&gclid=CjwKCAjw_4S3BhAAEiwA_64YhkLk0S0pKYW24QlnTZBEMV-qi3uuLcn8EMNG9DP5yenXXQOjK1-gVhoCeX8QAvD_BwE | 111 | 1
Fluorescein | 46955-250MG-F | https://www.sigmaaldrich.com/US/en/product/sigma/46955?srsltid=AfmBOoo5I7CFSdrzJghs5oYKP5xRSfb5IdWRbJe9Ec4rzetyeq7BZbxX | 36 | 1
Cover slips | BI0094A | https://www.sigmaaldrich.com/US/en/product/eiscolabs/bi0094a | 10 | 1
Microscope slides | CLS294875X25-72EA | https://www.sigmaaldrich.com/US/en/product/aldrich/cls294875x25?utm_source=google%2Cgoogle&utm_medium=organicshopping%2Ccpc&utm_campaign=21043330280&utm_content=&gclid=CjwKCAjw_4S3BhAAEiwA_64Yhu81EgO0BPQEwl2ZpRHKvmhFp-Rj9Ac6p7OkfTJHJJColxpjlM0zqhoCvO4QAvD_BwE | 35 | 1
Calibration standard | R1L3S3 | https://www.thorlabs.com/thorproduct.cfm?partnumber=R1L3S3P | 273 | 1
Fluorescent slide | FSK5 | https://www.thorlabs.com/thorproduct.cfm?partnumber=FSK5 | 20 | 1
Black Aluminium Foil Tape | AT205-1.0 | https://www.thorlabs.us/thorProduct.cfm?partNumber=T205-1.0 | 35 | 1